VEZLOO

[Company Address]

ISO 9001:2015

QUALITY MANAGEMENT SYSTEM

CONTROL OF MONITORING AND MEASURING EQUIPMENT

(PROCEDURE)

| Prepared By | Approved By | Date |
| --- | --- | --- |
| Document No.: P/09 | Revision No. 01 | Update Date: 01/01/2020 |

This document is property of VEZLOO. No corrections / amendments are to be made except by the person authorized. The holder to return the document when s/he leaves the VEZLOO or when s/he has no further use for it.

Contents

1. PURPOSE	3

2. SCOPE	3

3. TERMS AND DEFINITIONS	3

4. PROCEDURE	3

4.1 EQUIPMENT SELECTION / SPECIFICATIONS	3

4.2 CALIBRATION PERIODICITY	3

4.3 SYSTEM OF CALIBRATION OF EQUIPMENT	4

4.4 NEW / REPAIRED EQUIPMENT	4

4.5 IDENTIFICATION OF CALIBRATION STATUS	4

4.6 WITHDRAWAL OF EQUIPMENTS	4

5. REFERENCES	5

6. RECORDS	5

# 1. PURPOSE

The purpose of this procedure is to establish, implement and maintain a system to ensure that any equipment used for monitoring, measuring and inspection in Quality Management System are selected, maintained, calibrated and functioning appropriately.

# 2. SCOPE

This procedure is applicable to all equipment used linked with Quality Management System of VEZLOO including those which are used by outsources.

# 3. TERMS AND DEFINITIONS

Equipment

Tools, Equipment, Software and other tangible as well as intangible resources used to monitor and measure the parameters of product or process related to quality.

All other applicable as defined in clause 3 of manual.

# 4. PROCEDURE

## 4.1 EQUIPMENT SELECTION / SPECIFICATIONS

HODs shall ensure that inspection, measuring and test equipment are selected and used with the required precision, accuracy, range etc. If he found anything lacking then the same shall procured with the consultation of QMS team leader. The least count / accuracy of instrument shall be decided based on the process / inspection requirements and verified with equipments available with us.

Equipment used in the inspection and testing and process control shall be identified for the calibration and recorded in the Master list of equipment.

## 4.2 CALIBRATION PERIODICITY

The periodicity for calibration of the identified equipment used for demonstrating the conformance of the product to the specific requirements in VEZLOO shall be established and recorded in the Master list of equipment. Identified equipment, which have potential to influence product quality shall be identified and recorded in the Master list of equipment with the details of the frequency of calibration and method of calibration etc.

Equipment shall be calibrated at regular intervals and frequency shall be amended on the basis of stability, purpose and usage, thereby ensuring about the capability and also about the accuracy and precision of it.

## 4.3 SYSTEM OF CALIBRATION OF EQUIPMENT

Equipment shall be calibrated through accredited calibration lab against certified equipment having a known valid relationship to nationally / internationally recognize standards. Calibration certificate shall be maintained for 2 cycles of calibration.

Equipment while in use or under calibration shall be handled in a manner to avoid damage and to ensure validity of the results and fitness for use. Only trained persons shall use the equipment to ensure the validity of results.

Apart from external calibration, in house inspection and cross verification of result shall be done by QMS team leader at least once in a month, or on the bases of complexity of production. QMS team leader shall maintain records of such in house inspections using in house inspection report.

If the accuracy of the instrument is in question, irrespective of due date for calibration, the instrument shall be calibrated immediately.

## 4.4 NEW / REPAIRED EQUIPMENT

All new or repaired measuring equipment received for use shall be calibrated before they are issued for use, unless accompanied by a calibration certificate from the manufacturer. They shall also given a unique identification number in continuation and issued by Heads of Production for use to the concerned work area.

## 4.5 IDENTIFICATION OF CALIBRATION STATUS

The calibration status of the equipment shall be identified by stickers / tags or records to recall back when calibration is due.

Each instrument used in the company shall be given a unique identification number. The calibration label can identify the calibration status of any equipment in use/ tag affixed on the instrument for next due date of calibration, wherever possible. Records of the calibration status of all the equipment shall also maintained. In the absence of calibration labels / tags, records shall used for calibration status. The copy of calibration status report shall be given to Functional Heads and users for their ready reference. Functional Heads and all employees shall ensure that equipment used by them are calibrated before due date for calibration.

## 4.6 WITHDRAWAL OF EQUIPMENTS

In case of any equipment is found having systematic error, nearer to the acceptance criteria or some part of instrument not working, they equipment shall remove from service and isolated immediately. Then label giving information for correction factor/ limited use shall be put on the equipment. If unsystematic error or major fault is found, the instrument is send for repairing or identification of withdrawal shall put on it.

Whenever an instrument suffers a failure in calibration or it cannot be repaired, it shall be withdrawn from further usage till the necessary repairs have been carried out. A notification of withdrawn shall issued and an alternative instrument may be issued, if available. Master list of equipment shall be updated immediately and shared with all concerning persons in VEZLOO.

# 5. REFERENCES

- QMS Manual

- ISO 9001:2015

- Procedure for monitoring and measuring

# 6. RECORDS

  - Master list of equipment

  - In house inspection report